FACULTY / OTHER AREA (FOA) INFORMATION 	Date: __________

| Building: | FOA: | Location: |
| --- | --- | --- |

INSPECTED BY:

| Supervisor: (name and signature) | OHS Management Rep: (name and signature) | Employee HSR: (name and signature) |
| --- | --- | --- |

| ELEMENT | Y/N/NA | COMMENTS / HAZARDS |
| --- | --- | --- |
| Y = Up to standard (adequate), N = Below standard (action required), NA = Not Applicable |  |  |
| 1 LAYOUT |  |  |
| 1.1 Area is tidy and well kept |  |  |
| 1.2 Adequate storage area provided |  |  |
| 1.3 Floor is free of obstructions and not-slippery |  |  |
| 1.4 Floor coverings in good condition |  |  |
| 1.5 Aisles are sufficiently wide for traffic |  |  |
| Actions: (include person responsible and target completion date) |  |  |
| 2 ENVIRONMENT |  |  |
| 2.1 Temperature is comfortable |  |  |
| 2.2 Lighting is adequate |  |  |
| 2.3 Lighting covers and fittings are secure |  |  |
| 2.4 Area is free from odours |  |  |
| 2.5 Noise level is acceptable/adequately controlled |  |  |
| 2.6 Ventilation is adequate |  |  |
| Actions: (include person responsible and target completion date) |  |  |
| 3 EMERGENCY PROCEDURES |  |  |
| 3.1 Written procedures posted |  |  |
| 3.2 Extinguisher of appropriate type easily accessible (not closer than 1 metre to fume cupboard) |  |  |
| 3.3 Tag on extinguisher has been checked in the last 6 months |  |  |
| 3.4 Visitor Emergency Guides are available (where required) |  |  |
| 3.5 Alarm can be heard in the area (if applicable) |  |  |
| 3.6 Escape routes are clear |  |  |
| 3.7 No trap points in laboratories in event of fire |  |  |
| 3.8 Emergency and hazard signage is clearly visible |  |  |
| 3.9 Evacuation drills carried out |  |  |
| Actions: (include person responsible and target completion date) |  |  |
| 4 FIRST AID FACILITIES |  |  |
| 4.1 Kits accessible within 5 minutes |  |  |
| 4.2 Kits are stocked and contents are in-date |  |  |
| 4.3 Names and contacts of first aiders displayed |  |  |
| Actions: (include person responsible and target completion date) |  |  |
| 5 GENERAL FACILITIES |  |  |
| 5.1 Washing facilities are clean and functional |  |  |
| 5.2 Lockers or equivalent available for staff |  |  |
| 5.3 Eating areas clean, hygienic and adequately serviced |  |  |
| 5.4 EHS posters and information is displayed |  |  |
| Actions: (include person responsible and target completion date) |  |  |
| 6 MANUAL HANDLING |  |  |
| 6.1 Frequently used items are within easy access between knee and shoulder |  |  |
| 6.2 Heavy items stored at waist height |  |  |
| 6.3 Stepladders or safe steps are available to access items stored on high shelves |  |  |
| 6.4 Trolleys are available for heavy items and loads |  |  |
| 6.5 Stored items adequately secured and stable |  |  |
| 6.6 Workstations are ergonomic (e.g. microscopy) |  |  |
| Actions: (include person responsible and target completion date) |  |  |
| 7 ENVIRONMENTAL ISSUES |  |  |
| 7.1 Recycling posters and information displayed |  |  |
| 7.2 Paper, Toner and Commingle recycling bins are provided |  |  |
| 7.3 Notice to encourage double sided photocopying and printing is displayed |  |  |
| Actions: (include person responsible and target completion date) |  |  |
| 8 ELECTRICAL SAFETY |  |  |
| 8.1 Portable equipment has current test tags |  |  |
| 8.2 Power leads in good condition |  |  |
| 8.3 Power leads are off the floor or placed away from walkways |  |  |
| 8.4 Power boards used (not double adaptors) |  |  |
| 8.5 Faulty equipment is tagged out |  |  |
| Actions: (include person responsible and target completion date) |  |  |
| 9 GENERAL LABORATORY |  |  |
| 9.1 Warning and safety signage in good condition |  |  |
| 9.2 Procedure, plant and equipment manuals are current and available |  |  |
| 9.3 Laboratory free of food and drink |  |  |
| Actions: (include person responsible and target completion date) |  |  |
| 10 CHEMICAL SAFETY |  |  |
| 10.1 Chemical Inventory and MSDS available |  |  |
| 10.2 HAZChem and other signs adequate |  |  |
| 10.3 Ready access to eyewashes and emergency showers |  |  |
| 10.4 Safety carriers are used for transporting glass or plastic containers of 2L or greater? |  |  |
| Actions: (include person responsible and target completion date) |  |  |
| 11 FUME CUPBOARDS |  |  |
| 11.1 Free of waste and clutter |  |  |
| 11.2 Are switched off when not in use |  |  |
| 11.3 Are tested periodically |  |  |
| 11.4 Isolation switches identified and easily accessible |  |  |
| Actions: (include person responsible and target completion date) |  |  |
| 12 BIOLOGICAL SAFETY |  |  |
| 12.1 Benches are clean |  |  |
| 12.2 Cabinets are clean |  |  |
| 12.3 Containers are labelled and stored correctly |  |  |
| 12.4 Have all laminar flow cabinets been certified within the last 12 months? |  |  |
| 12.5 Emergency procedures available and known |  |  |
| Actions: (include person responsible and target completion date) |  |  |
| 13 RADIATION SAFETY |  |  |
| 13.1 Radiation labelling and warning signage displayed |  |  |
| 13.2 Radioactive sources are labelled and monitored for leakage |  |  |
| 13.3 Records of isotope use are kept |  |  |
| 13.4 Emergency procedures available and known |  |  |
| 13.5 Shielding available |  |  |
| Actions: (include person responsible and target completion date) |  |  |
| 14. NON-IONISING RADIATION |  |  |
| 14.1 Do laser laboratories have the appropriate warning signs? |  |  |
| 14.2 Are lasers equipped with protective housings, safety interlocks, key controls, beam stops, attenuators and scanning safety guards as appropriate? |  |  |
| 14.3 Are laser operators provided with wavelength-specific eye protection? |  |  |
| 14.4 Is suitable eye protection and skin protection worn by any persons exposed to ultraviolet radiation? |  |  |
| Actions: (include person responsible and target completion date) |  |  |
| 15 CHEMICAL STORAGE |  |  |
| 15.1 Spill kits are available and maintained |  |  |
| 15.2 Containers are labelled with chemical name and Class diamonds |  |  |
| 15.3 Chemicals are stored correctly, bunded and segregated from all drains |  |  |
| 15.4 Is there not more than one flammable liquid cabinet per 250m2 of floor space? |  |  |
| 15.5 Are flammable liquid cabinets at least 3m from power points and other ignition sources? |  |  |
| 15.6 Is the bunding/bottom shelf in place and kept clear? |  |  |
| 15.7 Is the area around and on top of the cabinet clear of all material i.e. no storage of combustible materials on or around cabinet? |  |  |
| 15.8 Is there appropriate signage in place and are warning signs on the cabinet legible? |  |  |
| Actions: (include person responsible and target completion date) |  |  |
| 16 CYLINDER SAFETY |  |  |
| 16.1 Gas cylinders stored securely |  |  |
| 16.2 Number of gas cylinders minimised. All gas cylinders connected for use? (i.e. no laboratory storage)? |  |  |
| 16.3 Gas lines are in good condition and turned off at cylinder |  |  |
| 16.4 Acetylene cylinders not used inside building |  |  |
| 16.5 Flashback arrestors used in fuel gas supply lines? |  |  |
| 16.6 Non-return (check) valves fitted to all processes that exceed cylinder pressure? |  |  |
| 16.7 Specialised trolleys are available for moving gas cylinders |  |  |
| 16.8 All cylinders at least 3m away from ignition sources and combustible material |  |  |
| 16.9 Are empty cylinders separated and identified as empty? |  |  |
| 16.10 Cryogenic liquids stored in well ventilated areas |  |  |
| Actions: (include person responsible and target completion date) |  |  |
| 17 PLANT AND EQUIPMENT |  |  |
| 17.1 Area around plant clean |  |  |
| 17.2 Access to plant is clear |  |  |
| 17.3 Safe working instructions displayed close to plant |  |  |
| 17.4 Plant locked or cannot be accessed when left unattended |  |  |
| 17.5 Plant and equipment maintained and in good condition |  |  |
| 17.6 Emergency stops are working |  |  |
| 17.7 Plant guarding in place |  |  |
| 17.8 No sharp edges protruding into aisles or walkways |  |  |
| 17.9 Seating appropriate and in good condition |  |  |
| 17.10 Pressure vessels labelled, tested and registered if required |  |  |
| Actions: (include person responsible and target completion date) |  |  |
| 18 WORK PRACTICES |  |  |
| 18.1 No food and drink used/stored in laboratories |  |  |
| 18.2 Mouth pipetting prohibited |  |  |
| 18.3 All laboratory users inducted |  |  |
| 18.4 Safe Working Practices documented |  |  |
| 18.5 Chemical quantities kept to minimum |  |  |
| 18.6 Chemicals kept in appropriate cabinets (no flammables in normal refrigerators) |  |  |
| Actions: (include person responsible and target completion date) |  |  |
| 19 PPE |  |  |
| 19.1 Correctly stored |  |  |
| 19.2 Well maintained and in good condition |  |  |
| 19.3 Signage of PPE requirements displayed |  |  |
| 19.4 Required PPE available |  |  |
| Actions: (include person responsible and target completion date) |  |  |
| 20 WASTE DISPOSAL |  |  |
| 20.1 Waste containers are provided and labelled with Class Diamonds |  |  |
| 20.2 Waste is segregated and stored appropriately away from drains |  |  |
| 20.3 Spill kits are available |  |  |
| 20.4 Sharps containers available and not overfilled |  |  |
| Actions: (include person responsible and target completion date) |  |  |

Other Comments:

General Recommendations: