Notes: 	This form is intended to be used in conjunction with the Dangerous Goods Guidelines

This form can be used for storage of single chemicals, or classes of chemical (e.g. in a store)

| Chemical Name or Chemical Group |  |
| --- | --- |
| Location of Storage | Campus, Building, Room Number |
| Description of Storage |  |
| School / Division |  | Date |  |
| Names of Assessors |  |

| Classification | Class: | Subsidiary Risks: | Packing Groups |
| --- | --- | --- | --- |

| Dangerous Goods Hazard | Physical properties |
| --- | --- |
| ( Acid: ( strong ( weak ( Base: ( strong ( weak ( Acid Oxidiser ( Corrosive ( Dangerous when Wet ( Explosive ( Flammable: ( highly ( extreme ( Flammable fumes / vapour ( Organic peroxide ( Oxidising Agent ( Spontaneously combustible ( Unstable ( Other (specify) ______________ ____________________________ | ( solubility ( water, ( other chemical: |
|  | ( Vapour pressure: Are vapours given off? ( Yes ( No Are vapours hazardous?: ( Yes ( No ( Volatility: Are vapours: ( explosive ( flammable ( toxic |
|  | ( Has the material a limited shelf life? ( Yes, Use By date: ______________( No |

(Place “(”in appropriate box(s). In some cases more than one tick is appropriate)

| Storage Risks |
| --- |
| ( R1 Explosive when dry. ( R2 Risk of explosion by shock, friction, fire or other sources of ignition. ( R3 Extreme risk of explosion by shock, friction, fire or other sources of ignition. ( R4 Forms very sensitive explosive metallic compounds. ( R5 Heating may cause an explosion. ( R6 Explosive with or without contact with air. ( R7 May cause fire. ( R8 Contact with combustible material may cause fire. ( R9 Explosive when mixed with combustible material. ( R10 Flammable. ( R11 Highly flammable. ( R12 Extremely flammable. ( R14 Reacts violently with water. ( R15 Contact with water liberates highly flammable gases. ( R16 Explosive when mixed with oxidizing substances. ( R17 Spontaneously flammable in air. ( R18 In use may form flammable/explosive vapour-air mixture. ( R19 May form explosive peroxides. ( R29 Contact with water liberates toxic gases. ( R31 Contact with acids liberates toxic gas. ( R32 Contact with acids liberates very toxic gas. | ( S1 Keep locked up. ( S2 Keep out of the reach of children. ( S3 Keep in a cool place. ( S4 Keep away from living quarters. ( S5 Keep contents under ... (appropriate liquid to be specified by the manufacturer). ( S6 Keep under ... (inert gas to be specified by the manufacturer). ( S7 Keep container tightly closed. ( S8 Keep container dry. ( S9 Keep container in a well-ventilated place. ( S12 Do not keep container sealed. ( S13 Keep away from food, drink and animal feeding stuffs. ( S14 Keep away from ... (incompatible materials to be indicated by the manufacturer). ( S15 Keep away from heat. ( S16 Keep away from sources of ignition - No smoking. ( S17 Keep away from combustible material. ( S47 Keep at temperature not exceeding ...C (to be specified by the manufacturer). ( S48 Keep wetted with ... (appropriate material to be specified by the manufacturer). ( S49 Keep only in the original container. |
| Storage Risks |
| ( Reactive / Stability (more information) | ( Hazardous Reaction Products (more information) |
| ( Not compatible with: | ( Special Storage Risks |
| ( Are there any activities and installations on neighbouring premises that could create a hazard? |
| ( Are there any neighbouring premises that could be adversely affected in an emergency? |
| Handling Risks |
| ( S18 Handle and open container with care. ( S30 Never add water to this product. ( S33 Take precautionary measures against static discharges. ( S50 Do not mix with ... (to be specified by the manufacturer). | ( S51 Use only in well-ventilated areas. ( S52 Not recommended for interior use on large surface areas. ( S53 Avoid exposure - obtain special instructions before use. |
| Environment and Disposal Risks |
| ( R50 Very toxic to aquatic organisms. ( R51 Toxic to aquatic organisms. ( R52 Harmful to aquatic organisms. ( R53 May cause long-term adverse effects in the aquatic environment. ( R54 Toxic to flora. ( R55 Toxic to fauna. ( R56 Toxic to soil organisms. ( R57 Toxic to bees. ( R58 May cause long-term adverse effects in the environment. ( R59 Dangerous for the ozone layer. | ( S29 Do not empty into drains. ( S35 This material and its container must be disposed of in a safe way. ( S40 To clean the floor and all objects contaminated by this material, use ... (to be specified by the manufacturer). ( S43 In case of fire, use ... (indicate in the space the precise type of fire-fighting equipment. If water increases the risk, add - Never use water). ( S56 Dispose of this material and its container at hazardous or special waste collection point. ( S57 Use appropriate container to avoid environmental contamination. ( S59 Refer to manufacturer/supplier for information on recovery/recycling. ( S60 This material and its container must be disposed of as hazardous waste. ( S61 Avoid release to the environment. Refer to special instructions/Safety data sheets. |

| Controls | Y/N | Options | Notes |
| --- | --- | --- | --- |
| Elimination |  | New risk assessment required | Find alternative process that removes need for material or eliminate an activity that increases risks |
| Substitution |  | New risk assessment required | Find less dangerous material to use |
| Reduction |  | Reduce amount stored |  |
| Isolation |  | Segregation | Consider separation from other dangerous goods |
| Segregation: (A) = Separate safety cabinet (B) = separate cupboard (C) = separate shelf / same cupboard (D) = separate spill trays (F) = Fire separation (>5 m) (S) = Space separation (> 3m) (P) = prohibited in same room |
|  | 2.1 | 2.2 | 3.1 | 3.n | 4.1 | 4.2 | 4.3 | 5.1 | 5.2 | 6.1 | 7 | 8 Acid | 8 Alkali | 8 Acid Oxidiser | 9 |
| Minor Qty |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Other |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Isolation |  | Separation from sources of ignition Use of storage cabinets | Consider flames, electrical fittings Classes and Subsidiary Risks 2.1, 3, 4, 5 and Combustible Liquids at least 5 metres from all ignition sources and naked flames |
| Engineering |  | Spill containment Electrostatic control Vapour control Keep under a nitrogen blanket Automatic monitoring systems Fire detection and suppression Temperature control | Bunding / Use of trays Refrigeration |
| Administrative |  | Signs Fire extinguishers Dispose of before a certain date Work procedures Locked storage Training |  |
| Supervision |  | General / Specific Approval / Group supervision / Individual supervision |
| Personal Protection |  | Wear Respiratory Protection Wear Safety Glasses Wear Full Face Shield Wear Protective Clothing Wear gloves Wear foot protection | (specify type) (specify type) eg lab coat, coveralls, hood (specify type) eg nitrile, PVC, natural rubber, neoprene (specify type) eg enclosed shoes |
| Air Monitoring |  | Personal / area monitoring | (specify) |
| Health Surveillance |  |  | (specify) |

| People affected by risk assessment |
| --- |
| Academic staff |  | Technical staff |  | Postgraduate students |  |
| Undergraduate students |  | Maintenance staff |  | Administrative staff |  |
| Cleaning staff |  | Emergency personnel |  | Contractors |  |
| Visitors |  | Others |  |  |

| Emergency Procedures | Action | Facilities / Materials Required |
| --- | --- | --- |
| Spill |  | Kits, neutralisers |
| Skin and Eye contact |  | Showers, eye washes |
| Ingestion |  | Antidotes |
| Special or additional emergency arrangements |
| Fire Extinguishers: All / Large fires � Water � Carbon dioxide ( CO2) � Foam � Dry powder Small fire � Water � Carbon dioxide (CO2) � Foam � Dry powder |
| Spill Kit: (e.g. neutralising agents) |

| Waste | Safe for Sewerage | Regulated Disposal | Safe for Sewerage after neutralisation/dilution |
| --- | --- | --- | --- |
| Other method: |

| Are existing controls suitable? | Yes/No | Are existing controls maintained? | Yes/No |
| --- | --- | --- | --- |
| Has the OHS Rep. been consulted? | Yes/No | Have staff been consulted? | Yes/No |

| Risk Control Plan - Improvements or additional actions |
| --- |
| Actions | Responsible Person | Target Date | Review Date | Action Completed |
| Short - term (next few weeks) |  |  |  |  |
| Medium - term (next few months) |  |  |  |  |
| Long - term (up to 12 months) |  |  |  |  |