FACULTY / OTHER AREA (FOA) INFORMATION 	Date: __________

| Building: | FOA: | Location: |
| --- | --- | --- |

INSPECTED BY:

| Supervisor: (name and signature) | OHS Management Rep: (name and signature) | Employee HSR: (name and signature) |
| --- | --- | --- |

| ELEMENT | Y/N/NA | COMMENTS / HAZARDS |
| --- | --- | --- |
| Y = Up to standard (adequate), N = Below standard (action required), NA = Not Applicable |  |  |
| 1 LAYOUT |  |  |
| 1.1 Area is tidy and well kept |  |  |
| 1.2 Adequate storage area provided |  |  |
| 1.3 Floor is free of obstructions and not-slippery |  |  |
| 1.4 Aisles are sufficiently wide for traffic |  |  |
| 1.5 Can be opened from the inside without a key |  |  |
| Actions: (include person responsible and target completion date) |  |  |
| 2 ENVIRONMENT |  |  |
| 2.1 For flammables, flame proof lighting provided |  |  |
| 2.2 Lighting is adequate |  |  |
| 2.3 Lighting covers and fittings are secure |  |  |
| 2.4 Area is free from strong odours . Ventilation is sufficient to prevent build-up of offensive odours? |  |  |
| 2.5 Ventilation is adequate |  |  |
| Actions: (include person responsible and target completion date) |  |  |
| 3 EMERGENCY PROCEDURES |  |  |
| 3.1 Written procedures posted |  |  |
| 3.2 Extinguisher of appropriate type easily accessible (not closer than 1 metre to fume cupboard) |  |  |
| 3.3 Tag on extinguisher has been checked in the last 6 months |  |  |
| 3.4 Alarm can be heard in the area (if applicable) |  |  |
| 3.5 Escape routes are clear |  |  |
| 3.6 No trap points in event of fire |  |  |
| 3.7 Emergency and hazard signage is clearly visible |  |  |
| Actions: (include person responsible and target completion date) |  |  |
| 4 FIRST AID FACILITIES |  |  |
| 4.1 Kits accessible within 5 minutes |  |  |
| 4.2 Kits are stocked and contents are in-date |  |  |
| 4.3 Names and contacts of first aiders displayed |  |  |
| Actions: (include person responsible and target completion date) |  |  |
| 5 CHEMICAL STORAGE |  |  |
| 5.1 Spill kits are available and maintained |  |  |
| 5.2 Containers are labelled with chemical name and Class diamonds |  |  |
| 5.3 Chemicals are stored correctly, segregated, bunded and separated from all drains |  |  |
| 5.4 All store users inducted |  |  |
| 5.5 Safe Working Practices documented |  |  |
| 5.6 Chemical quantities kept to minimum |  |  |
| 5.7 There is security/restricted access to store areas? |  |  |
| 5.8 Chemicals kept in appropriate cabinets (no flammables in normal refrigerators) |  |  |
| 5.9 Chemicals are stored in completely separate storage rooms from gas cylinders |  |  |
| 5.10 Is there appropriate secondary containment to prevent the spread of major spills? |  |  |
| 5.11 All glass containers > 1kg or 1L are stored below 1.5m high. |  |  |
| 5.12 All shelving is compatible with chemicals stored |  |  |
| 5.13 Are all containers free from leaks or damage? |  |  |
| Actions: (include person responsible and target completion date) |  |  |
| 6 MANUAL HANDLING |  |  |
| 6.1 Frequently used items are within easy access between knee and shoulder |  |  |
| 6.2 Heavy items stored at waist height |  |  |
| 6.3 Stepladders or safe steps are available to access items stored on high shelves |  |  |
| 6.4 Trolleys are available for heavy items and loads |  |  |
| 6.5 Stored items adequately secured and stable |  |  |
| Actions: (include person responsible and target completion date) |  |  |
| 7 GENERAL STORE |  |  |
| 7.1 Warning and safety signs in good condition |  |  |
| 7.2 Procedure, plant and equipment manuals are current and available |  |  |
| 7.3 Store free of food and drink |  |  |
| Actions: (include person responsible and target completion date) |  |  |
| 8 CHEMICAL SAFETY |  |  |
| 8.1 Chemical Inventory and MSDS available |  |  |
| 8.2 HAZChem and other signs adequate |  |  |
| 8.3 Ready access to eyewashes and emergency showers |  |  |
| 8.4 Safety carriers are used for transporting glass or plastic containers of 2L or greater? |  |  |
| 8.5 Earthing clip available to prevent static electricity build-up |  |  |
| Actions: (include person responsible and target completion date) |  |  |
| 9 CYLINDER SAFETY |  |  |
| 9.1 Gas cylinders stored securely |  |  |
| 9.2 Specialised trolleys are available for moving gas cylinders |  |  |
| 9.3 All cylinders at least 3m away from ignition sources and combustible material |  |  |
| 9.4 Are empty cylinders separated and identified as empty? |  |  |
| Actions: (include person responsible and target completion date) |  |  |
| 10 PPE |  |  |
| 10.1 Correctly stored |  |  |
| 10.2 Well maintained and in good condition |  |  |
| 10.3 Signage of PPE requirements displayed |  |  |
| 10.4 Required PPE available |  |  |
| Actions: (include person responsible and target completion date) |  |  |
| 11 WASTE DISPOSAL |  |  |
| 11.1 Waste containers are provided and labelled with Class Diamonds |  |  |
| 11.2 Waste is segregated and stored appropriately away from drains |  |  |
| 11.3 Spill kits are available |  |  |
| Actions: (include person responsible and target completion date) |  |  |

Other Comments:

General Recommendations: