|  |  |  |
| --- | --- | --- |
| **Instrument** | **Olympus MVX10** | **Room#ka4.316.1** |
| **Application:** Transmitted light and fluorescence imaging of tissues or whole organisms |
| **User information** | All users must be trained. Using fluorescent function on this microscope may acquire costs to the used. Please see webpage or contact SoM-BIF facility for further information. |
| **Webpage:** | <https://www.olympus-lifescience.com/en/microscopes/macro/mvx10/> |
| **Light source** | LG-PS2 light source |
| RFL-T (mercury lamp) |
|  |
| **Filters** | DAPI, GFP, RFP  |
| **Objectives** | 1x and 2x |
| **Camera** | DP72 |
|  |
| **software** | Cell Sens dimensions |