| This form is intended to cover one process involving a number of biological materials. Other OHS hazards should be assessed separately | Owner: OHS Manager Last Update: 23 April 2010 |
| --- | --- |

| Experiment/Process |  |
| --- | --- |
| Proposed Dates for work |  |
| School / Division |  |
| Names of Assessors |  |
| Agent / Material |  |
| Brief Project Description |  |
| Project Type | Research - laboratory usage: Research - laboratory disposal: Field work: Practical work – preparation: Practical work - student usage: Practical work – disposal Other, (Please Specify): |

- This form is to be completed prior to undertaking work in consultation with your supervisor. You should refer to the Safety in Laboratories: Microbiological aspects and containment facilities AS/NZS 2243.3:2002 for specific guidance

- The LBC Forms and Guidelines should be also reviewed especially in regard to OGTR work

- Further assistance can be obtained from the University’s BioSafety contacts.

| PART 1. POTENTIAL BIOHAZARDS |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Materials of animal or human origin |  |  | Yes No | If Yes, specify the material (s): Blood / Sputum / Urine / Tissue / Faeces / Other (Please Specify) Origin of the material: Amount of material handled: |  |  |  |  |  |
| Is the material derived from individuals or species known to be infected? |  |  | Yes No Unknown | If ‘yes’, please specify infectious agent: |  |  |  |  |  |
| Is collection of the sample part of this project? |  |  | Yes No | If ‘yes’, provide a separate risk assessment for the sample collection |  |  |  |  |  |
| Micro-organism Group |  | Type (e.g. refer tables 3.1-3.9 of AS/NZS 2243.3-2002) See also:ABSA: Risk Group Classification for Infectious Agents |  |  | ###### Risk Group (AS/NZS2243.3) | ###### Qty Used (ml/g) | Special precautions (AS/NZS 2243.3-2002) |  |  |
| Bacteria |  |  |  |  |  |  |  |  |  |
| Chlamydiae |  |  |  |  |  |  |  |  |  |
| Rickettsia |  |  |  |  |  |  |  |  |  |
| Mycoplasmas |  |  |  |  |  |  |  |  |  |
| Parasites |  |  |  |  |  |  |  |  |  |
| Fungi |  |  |  |  |  |  |  |  |  |
| Viruses |  |  |  |  |  |  |  |  |  |
| Plant/Fish Pathogens |  |  |  |  |  |  |  |  |  |
| Prions |  |  |  |  |  |  |  |  |  |
| Other: specify |  |  |  |  |  |  |  |  |  |
| Is the biological material infectious to humans? If yes, specify |  |  |  |  |  |  |  | Yes | No |
| Is there a potential for transmission to other (non-reservoir) species? If yes, specify |  |  |  |  |  |  |  | Yes | No |
| Are there possible environmental concerns? (e.g. release via disposal or spill etc.) If yes, provide details for both humans and other animals. |  |  |  |  |  |  |  | Yes | No |
| Is immunisation required or recommended when working with this biological material? If yes, Specify the requirements/recommendations (see also Immunisation Guidelines): |  |  |  |  |  |  |  | Yes | No |

| PART 2. PHYSICAL CONTAINMENT FACILITIES |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Where is the proposed work to be conducted? Campus Building No. Room No(s). |  |  |  |  |  |  |  |  |
| Who is responsible for the maintenance of the laboratory facilities and equipment: name and contact number: |  |  |  |  |  |  |  |  |
| What Physical Containment (PC) level is required? PC Level 1 PC Level 2 PC Level 3 PC Level 4 |  |  |  |  |  |  |  |  |
| Has an inspection of the laboratory been conducted by the person wishing to use the biological material? If not, conduct inspection and verify suitability. |  |  |  |  |  | Yes | No |  |
| Is there adequate signage to indicate containment level and entry requirements? |  |  |  |  |  | Yes | No |  |
| If Genetic Manipulation work is carried out, are the procedures in accordance with the Gene Technology Act 2000? If yes, what is the OGTR approval number? No. |  |  |  |  |  | Yes | No | N/A |
| Are imported or quarantine biological materials used? If Yes AQIS Permit No. |  |  |  |  |  | Yes | No | N/A |
| Will the biological material be stored in the working environment? |  |  |  |  |  | Yes | No |  |
| If yes, specify the Storage Requirements: |  |  |  |  |  |  |  |  |
| Fridge |  | Cold room |  | Incubator | Other (Specify) |  |  |  |
| Freezer |  | Liquid Nitrogen |  |  |  |  |  |  |
| Is there proper labelling of stored biological material? |  |  |  |  |  | Yes | No |  |
| Is there a need to transport biological material from/to the laboratory or other areas? |  |  |  |  |  | Yes | No |  |

| PART 3. PROCEDURES AND RISK CONTROLS |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| What procedures will be used with the biological material? |  |  |  |  |  |  |  |  |
| Aspiration |  | Sonication |  | Slide Preparation |  |  |  |  |
| Vigorous Shaking/Mixing |  | Pouring |  | Freeze Drying |  |  |  |  |
| Blending |  | Pipetting |  | Opening Freeze Dried Material |  |  |  |  |
| Grinding |  | Using Automated Equipment |  | Dissection |  |  |  |  |
| Centrifugation |  | Microbiological/Tissue Culture |  |  |  |  |  |  |
| Other, Please Specify |  |  |  |  |  |  |  |  |
| Are there written procedures in case of accidents and/or spillage? |  |  |  |  | Yes | No |  |  |
| Is there appropriate equipment and supplies to cater for accidents and/or spills? |  |  |  |  | Yes | No |  |  |
| Are there adequate washing facilities available for use? |  |  |  |  | Yes | No |  |  |
| Are there appropriate sterilisation/autoclave facilities available? |  |  |  |  | Yes | No | N/A |  |
| Are procedures for cleaning or laundering of protective clothing adequate? |  |  |  |  | Yes | No |  |  |
| Have risk assessments been conducted for electrical machines? |  |  |  |  | Yes | No |  |  |
| Is collection/treatment/disposal/ of infectious material appropriate? List specific procedures: |  |  |  |  | Yes | No | N/A |  |

| PART 4. PROPOSED PRECAUTIONS/CONTROLS AGAINST BIOHAZARDS |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| List known medical effects or symptoms of unintended exposure to the material |  |  |  |  |  |  |  |  |  |  |  |  |
| List the protective devices required, including Personal Protective Clothing/ Equipment. |  |  |  |  |  |  |  |  |  |  |  |  |
| Biological Safety Cabinet (C1) |  |  |  | Safety Glasses |  |  |  | Safety Goggles |  |  |  |  |
| Biological Safety Cabinet (C2) |  |  |  | Sharps Disposal |  |  |  | Face Shield |  |  |  |  |
| Biological Safety Cabinet (C3) |  |  |  | Respirator |  |  |  | Face Mask |  |  |  |  |
| Clothing |  |  | Laboratory coat / coverall / apron (specify type) |  |  |  |  |  |  |  |  |  |
| Appropriate Glove Type |  |  |  |  |  |  |  |  |  |  |  |  |
| Appropriate Disinfectant |  |  |  |  |  |  |  |  |  |  |  |  |
| Waste disposal method |  |  |  |  |  |  |  |  |  |  |  |  |
| Other (specify) |  |  |  |  |  |  |  |  |  |  |  |  |
| Have the following factors been adequately considered and implemented? |  |  |  |  |  |  |  |  |  |  |  |  |
| General Safety Training | Yes | No |  |  | N/A | Standard Operating Procedures |  |  | Yes | No | N/A |  |
| Task Specific Training | Yes | No |  |  | N/A | Permit to Work |  |  | Yes | No | N/A |  |

| PART 5. RISK REVIEW |  |
| --- | --- |
| List the top five OHS hazards associated with the project and the corresponding control measures: |  |
| Hazard | Control Measures (Note whether in place or planned) |
| 1 |  |
| 2 |  |
| 3 |  |
| 4 |  |
| 5 |  |

| PART 6. COMMENTS AND APPROVAL INFORMATION |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Comments of the person carrying out the assessment: |  |  |  |  |  |  |  |
| Name: |  |  | ### Date: |  |  |  |  |
| After reviewing the Risk Assessment and any supporting documentation, has the Laboratory and Biosafety Committee (or delegate) approved this project? |  |  |  |  |  | Yes | No |
| Comments of the Laboratory and Biosafety Committee (or delegate) : |  |  |  |  |  |  |  |
| Name: |  | Date: |  |  | LBC Registration No. |  |  |
| Risk assessment must be reviewed again before? |  |  |  |  |  |  |  |

Microbiological Risk Groups (AS 2243.3)

Risk Group 1 (low individual and community risk)—a microorganism that is unlikely to cause human, plant or animal disease.

Risk Group 2 (moderate individual risk, limited community risk)—a pathogen that can cause human, plant or animal disease, but is unlikely to be a serious hazard to laboratory workers, the community, livestock, or the environment; laboratory exposures may cause infection, but effective treatment and preventive measures are available, and the risk of spread is limited.

Risk Group 3 (high individual risk, limited community risk)—a pathogen that usually causes serious human or animal disease and may present a serious hazard to laboratory workers. It could present a risk if spread in the community or the environment, but there are usually effective preventive measures or treatment available.

Risk Group 4 (high individual and community risk)—a pathogen that usually produces life-threatening human or animal disease, represents a serious hazard to laboratory workers and is readily transmissible from one individual to another. Effective treatment and preventive measures are not usually available.

The categorisation is based on the infective hazard to healthy workers and does not allow for any additional risk for example caused by pre-existing disease, the effects of medication, compromised immunity, pregnancy or breastfeeding. Also the categorisation does not take account of any allergenic or toxic properties of the micro-organism or its products. Additional risks to such workers should be taken in to account in the risk assessment.

The biological agents in the four hazard groups can be defined as follows:

| HAZARD GROUP | PATHOGENICITY FOR HUMANS | HAZARD TO WORKERS | SPREAD TO COMMUNITY | EFFECTIVE PROPHYLAXIS OR TREATMENT |
| --- | --- | --- | --- | --- |
| 1 | Unlikely to cause human disease |  |  |  |
| 2 | Can cause human disease | May be | Unlikely | Usually available |
| 3 | Can cause severe human disease | May be serious | May spread | Usually available |
| 4 | Causes severe human disease | Serious | Likely | Usually none |