FACULTY / OTHER AREA (FOA) INFORMATION 	Date: __________

| Building: | FOA: | Location: |
| --- | --- | --- |

INSPECTED BY:

| Supervisor: (name and signature) | OHS Management Rep: (name and signature) | Employee HSR: (name and signature) |
| --- | --- | --- |

| ELEMENT | Y/N/NA | COMMENTS / HAZARDS |
| --- | --- | --- |
| Y = Up to standard (adequate), N = Below standard (action required), NA = Not Applicable |  |  |
| 1 LAYOUT |  |  |
| 1.1 Room is tidy |  |  |
| 1.2 Adequate storage area provided |  |  |
| 1.3 Floor is free of obstructions and not-slippery |  |  |
| 1.4 The room can be safely accessed (doors, ladders etc) |  |  |
| 1.5 Any opening in the floor are guarded or covered |  |  |
| 1.6 Aisles are sufficiently wide for easy movement |  |  |
| 1.7 Walkways clearly marked and guarded if necessary |  |  |
| Actions: (include person responsible and target completion date) |  |  |
| 2 ENVIRONMENT |  |  |
| 2.1 Lighting is adequate |  |  |
| 2.2 Lighting covers and fittings are secure |  |  |
| 2.3 Noise level is adequately controlled or hearing protection provided |  |  |
| 2.4 Ventilation is adequate |  |  |
| Actions: (include person responsible and target completion date) |  |  |
| 3 EMERGENCY PROCEDURES |  |  |
| 3.1 Extinguisher of appropriate type easily accessible |  |  |
| 3.2 Tag on extinguisher has been checked in the last 6 months |  |  |
| 3.3 Alarm can be heard in the area (if applicable) |  |  |
| 3.4 Escape routes are clear |  |  |
| 3.5 Emergency and hazard signage is clearly visible |  |  |
| 3.6 Access to the room is controlled (by permit) |  |  |
| 3.7 Communication can occur in an emergency |  |  |
| Actions: (include person responsible and target completion date) |  |  |
| 4 GENERAL PLANTROOM |  |  |
| 4.1 Warning and safety signage in good condition |  |  |
| 4.2 Procedure, plant and equipment manuals are current and available |  |  |
| 4.3 Plantroom free of food and drink |  |  |
| 4.3 Plantroom is secure and kept locked |  |  |
| Actions: (include person responsible and target completion date) |  |  |
| 5 PLANT AND EQUIPMENT |  |  |
| 5.1 Area around plant clean |  |  |
| 5.2 Access to plant is clear |  |  |
| 5.3 Safe working instructions available and used |  |  |
| 5.4 Plant and equipment maintained and in good condition |  |  |
| 5.5 Emergency stops are working |  |  |
| 5.6 Plant guarding in place |  |  |
| 5.7 No sharp edges protruding into aisles or walkways |  |  |
| 5.8 Excessive force is not required to operate the plant or controls |  |  |
| 5.8 Work postures for maintenance staff are not constrained or awkward. |  |  |
| 5.9 Do maintenance staff need to over-reach, stretch, lift, carry or bend in such a way that it may cause body strain? |  |  |
| 5.10 Risks associated with the plant when it is not in use or when undergoing maintenance have been addressed. |  |  |
| 5.11 Controls are suitably identified and conveniently located. |  |  |
| Actions: (include person responsible and target completion date) |  |  |

Other Comments:

General Recommendations: