| Instrument | Olympus MVX10 | Room#ka4.316.1 |
| --- | --- | --- |
|  | Application: Transmitted light and fluorescence imaging of tissues or whole organisms |  |
| User information | All users must be trained. Using fluorescent function on this microscope may acquire costs to the used. Please see webpage or contact SoM-BIF facility for further information. |  |
| Webpage: | https://www.olympus-lifescience.com/en/microscopes/macro/mvx10/ |  |
| Light source | LG-PS2 light source |  |
|  | RFL-T (mercury lamp) |  |
| Filters | DAPI, GFP, RFP |  |
| Objectives | 1x and 2x |  |
| Camera | DP72 |  |
| software | Cell Sens dimensions |  |