| Instrument | Olympus FV10i Laser Scanning Confocal Microscope | Room#ka4.316.2 |
| --- | --- | --- |
|  | Application: Fluorescence imaging of cells, organs or whole organisms on slides or dishes |  |
| User information | All users must be trained prior using this instrument. Please see webpage or contact SoM-BIF facility for further information about training and costs involved. |  |
| Webpage: | https://www.olympus-europa.com/medical/en/microscopy/components/component_details/component_detail_17027.jsp |  |
| Light source | Ultraviolet/Visible light lasers (405nm, 473nm, 559nm) |  |
| Objectives | 10x |  |
|  | 60x |  |
| Software | FV10i |  |